## MEP SLAs
|  | Priority | [8 empty] | Zahrani Remark | LA Remarks | Zahrani Comments
|  | Level 1 |  |  |  | Level 2
Type | Category | Emergency | P1 | P2 | P3 | Emergency | P1 | P2 | P3 | Remarks
Air Conditioning | A/C Water Leakage | Immediate |  |  |  | Immediate | [6 empty] | Okay
| High Cooling |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | P2 Calls As per Zahrani TAT
| Low Cooling |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Will be attended in given time. TAT will depends on the findings. | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | L1 is accepted ,Since L2 is scattered area which will be attended 24 to 48 hours
| Noise |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 48 hrs. Corrective action can be initiated based on the findings.
| Thermostat Not Working |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Will be attended in given time. TAT will depends on the findings. | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings.
| Comprosser Damage |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings.
| Diffuser Broken |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours |  |  | Depends on severity. For Eg: if it is about to fall and a threat to people then this call should be treated as emergency | Accepted
| Motor Damage |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings.
| PPM scheduled Vs completed |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Based on scheduled quarterly PPM | Monthly Review | Accepted
Mechanical | Generator Repair |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Not in Scope of Work ( Proposal Submitted for AMC) | OK
| Rolling Shutter Repair |  | 24 Hours |  |  |  | 24 Hours |  |  |  | Will be attended in given time. TAT will depends on material dependency | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| Single entry Rolling Shutter Repair | Immediate |  |  |  | Immediate
| Rolling Shutter Stuck |  | 24 Hours |  |  |  | 24 Hours |  |  |  | Will be attended in given time. TAT will depends on material dependency
| Rolling Shutter Noice |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Air Curtain |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Cargo Lift Not Working |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| Cargo Lift Service |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| Elevator Not Working |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| Elevator Service |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Escalator Noise |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Escalator repair (no Alternate access ) | Immediate |  |  |  | Immediate
| Escalator Not Working |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| Escalator Service |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Sliding Door Repair |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Rolling Shutter Slot Repair |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours |  |  | Call must be attented within 24 hrs. Corrective action can be initiated based on the findings. | Accepted
| PPM scheduled Vs completed |  | 24 Hours |  |  |  | 24 Hours |  |  |  | incomplete | Monthly Review | Accepted
Electrical | Bulb Flickering |  | 24 Hours |  |  |  | 24 - 48 Hours
| Burned Cable | Immediate |  |  |  | Immediate
| Earthing Issue |  | 24 Hours |  |  |  | 24 - 48 Hours
| Switch Broken/Not Working |  | 24 Hours |  |  |  | 24 - 48 Hours
| Faded Bulb |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Faded Bulb / Fused Bulb
| Fused Bulb |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Faded Bulb / Fused Bulb |  | Must be replaced in 4 days max | Accepted, based on material availablility
| Additional Lighting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Electrical Work
| Backlit Board Bulb Change |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Electrical Work
| Electrical Panel Board Service |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Electrical Work
| Spot Light Replacement |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Electrical Work |  | Must be replaced in 4 days max | Accepted, based on material availablility
| Power Failure (Short Circuite, Breaker Damage) | Immediate |  |  |  | Immediate
Fire & Safety | Fire Alarm Panel Service |  | 24 Hours |  |  |  | 24 - 48 Hours
| Fire Extinguisher Refilling |  | 48 hrs |  |  |  | 48-72 hrs |  |  |  |  | As per schedule | Accepted
| Emergency Lights |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  |  | Compliance issue .Must be treated as high priority | Accepted , proposal Shall be submiited based on Monthly service reports
| Fire Hydrant System Service |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| First Aid Kit |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  |  | Must be available always. Replinishment must be done before expiry/out of stock | Based on storemanager's request , which will be treated in priority
| Civil Defence Related Signages |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  |  | Based on severity. | Accepted
Signage Repair & Maintenance | Inside Store |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Store/ Mall Facade Signage |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Will be attended in given time. TAT will depends on material approval
| Backlit Box Lights |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Signage work
| Electrical Supply |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Signage work
| LED |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Signage work
| Letters Fabrication |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Signage work
| Others (Signage) |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Signage work
UPS | Low Backup Time |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Not in Scope of Work ( Proposal Submitted for AMC)
| UPS Not Working |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  | Not in Scope of Work ( Proposal Submitted for AMC) | Must be treated as urgent. Also PPM must be carriedout periodically to avoid breakdown | AMC proposal shall be shared
| UPS Failure | Immediate |  |  |  | Immediate | [5 empty] | Must be treated as urgent. Also PPM must be carriedout periodically to avoid breakdown | AMC proposal shall be shared
CC TV, Networking, Telephone & PA System | Biometric Cable issue |  | 24-48 Hours |  |  |  | 48-72 Hours
| Blank Screen |  | 24-48 Hours |  |  |  | 48-72 Hours
| Blurred Picture |  | 24-48 Hours |  |  |  | 48-72 Hours
| Camera Not Working |  | 24-48 Hours |  |  |  | 48-72 Hours
| DVR Not Working |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Mandatory requirement. PPM must be performed periodically to avoid breakdowns. Reports must be submitted as per schedule | Accepted
| No Backup |  | 24-48 Hours |  |  |  | 48-72 Hours
| Unable To Page |  | 24-48 Hours |  |  |  | 48-72 Hours
| Verifone Cable Problem |  | 24-48 Hours |  |  |  | 48-72 Hours
| Biometric Not Working |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Must be treated as urgent | Based on spares availability
| Additional Data Port Request |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| Camera Position Change |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| Intercom Not Working |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| User ID/Password Block |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
Security Systems | Deactivation Pad |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Security Antenna |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  | based on proposal
| Foot Fall counting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
Carpentry | Drawer Repair |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Lock Repair/Change |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Broken Acrylic |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Cash Counter |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Corner Guards |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Door Closure Repair |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Door Repair |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Drawer Lock Change |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Hanger Boxes |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Iron Table |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Jute Bag Holder Repair |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Pantry Cupboard |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Pantry Table |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Shoe Rack |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Staff Locker |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Wooden Doors |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Wooden Partition |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
| Wooden Shelf |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Carpentry Work / Repair
Masonery | Block Work |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Masonry Work / Repair
| Concerete |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Masonry Work / Repair
| Tile Replacement |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours |  |  | Broken tiles at the entrance/pathways must be treated as urgent. | As per Approved rate card
| Tile Broken at the entrance | Immediate |  |  |  | Immediate
| Wall Repair |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Masonry Work / Repair
Gypsum Work | Grid Ceiling Work |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Grid Ceiling / Partition Work
| Gypsum Work |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Grid Ceiling / Partition Work
| Partition |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Grid Ceiling / Partition Work
Painting | Parking Area Painting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| Spray Painting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| Wall Painting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
Pest Control | Pest/Rodent Issue |  | 24 Hours |  |  |  | 24 - 48 Hours |  |  |  |  | Periodic servce as scheduled | Accepted
| Service Issues |  | 24 Hours |  |  |  | 24 - 48 Hours
Plumbing | Broken Health Faucet |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Must be treated as urgent if there is water leakage | Accepted
| Broken Tap |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Must be treated as urgent if there is water leakage | Accepted
| Leakage Toilet |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Must be treated as urgent if there is water leakage | Accepted
| Leakage Wash Basin |  | 24-48 Hours |  |  |  | 48-72 Hours |  |  |  |  | Must be treated as urgent if there is water leakage | Accepted
| Main Pipe Leakage | Immediate |  |  |  | Immediate
| Pump Repair |  | 24-48 Hours |  |  |  | 48-72 Hours
| Broken Wash Basin |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Broken WC |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Flush Repair |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours
| Leakage Through Wall |  | 24-48 Hours |  |  |  | 48-72 Hours
UV Protection | Window Curtain |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
Steel/Metal & Glass | Broken Mirror |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Broken Mirror / Cash Counter Top Glass & Back Table Glass
| Cash Counter Top Glass & Back Table Glass |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Broken Mirror / Cash Counter Top Glass & Back Table Glass
| Metal Door Repair |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Metal Door Repair / Trolley Guard
| Trolley Guard |  |  | 48 - 96 Hours |  |  |  | 96 - 168 Hours |  | Metal Door Repair / Trolley Guard
| Hand Rail |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work
| Motor Cage |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work
| Pad Lock |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work
| Parking Pole |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work
| Skirting |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours
| Trolley Bay |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work
| Façade Glass Broken | Immediate |  |  |  | Immediate
| Trolley Stopper |  |  |  | 168 Hours |  |  |  | 168 - 240 Hours | Other Work

## Sheet1
SLA Basis Below Points Need to be updated in the system
1 | New TAT as per L1 & L2 Need to be updated in system
2 | Need to have a access to update the PPM schedule vs Completed details (HVAC , Electrical , Shutter
3 | IN priority , Only High, medium & Low required , please replace schedule & Urgent to Low & High
4 | Zahrani team APP holder need to have option to mention the completion date which should reflect in the entire Data
5 | Complete Scorecard need to add in the dashboard as same as sheet 2
6 | Notificiation for below action required.
| a | New calls arrival
| b | Assigning the calls to supervisor and Zahrani team App Holder
| c | Escalation Notifications for Mentioned Email & App ids
| d | Status changes Pushup notification to the Call requestor
|  | 1 | if closed status , Rating & feedback Options should appear with popup type and also Reopen the calls option
|  | 2 | if hold / material Dependency status , Comments option should appear
7 | QR Code Asset tagging for all the equipment interface with this system
8 | Multiple emails adding option required in each level of escalations
9 | Concept wise Bussiness Head Access for web portal

## Score card equation
Equation for scorecard preparation
Steps | Description | Remarks
1 | Create the Scorecard Panel for each category such as HVAC , Fire & Safety, mechanical,Electrical & UPS, CCTV & security system, Plumbing and Civil & carpentry works
2 | Add Category type according to the performance indicator is same as our service category in our portal
3 | UNIT is in percentage
4 | TARGET must be same as mentioned in the scorecard as per the priority
5 | ACHIEVED SCORE is dervied from ((SCORE OF MONTH x TARGET ) DIVIDED BY TARGET SCORE
6 | Target Score must be constant for each service category
7 | Weightage also be constant as per importanace of calls
8 | Target Weighted Score also be constant which derived from (Target Score X weight)
9 | Score of Month for Example
| Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
| A/C Water Leakage | 40 | 10 | 15 | 25% | 1.25
| High Cooling | 40 | 10 | 15 | 100% | 5
| Low Cooling | 40 | 10 | 15 | 25% | 1.25
| Noise | 40 | 10 | 15 | 25% | 1.25
| Thermostat Not Working | 40 | 10 | 15 | 25% | 1.25
| Comprosser Damage | 40 | 10 | 15 | 25% | 1.25
| Diffuser Broken | 40 | 10 | 15 | 100% | 5
| Motor Damage | 40 | 10 | 15 | 25% | 1.25
PPM
| PPM | Total PPM Scheduled | Total PPM Completed | Total PPM Missed | % PPM Completed | Score for the month
| HVAC | 512 | 512 | 0 | 1 | 5
Score of month is Call closure percentage X Target Score
10 | Weighted Score of Month is derived from( Weight MULTIPLY WITH score of a month
10 | Total Target score is 5 as constant
11 | Total weighted score of month is SUM OF WEIGHTED SCORE OF MONTH
12 | performace of month is (Total weighted score of month divided by Target score
13 | Hope score card summary can be understandable

## Score Card Summary
IFM Monthly Performance Score Card - Sep'20 - Zahrani
S. No. | Balanced Scorecard Criteria | Target Score | Weight | Target Weighted Score | Score for the Month | Weighted Score for the Month
1 | HVAC | 5 | 20% | 1 | 2.375 | 0.475
2 | Fire & Safety | 5 | 15% | 0.75 | 2.375 | 0.35625
3 | Mechanical | 5 | 20% | 1 | 3.2375 | 0.6475
4 | Electrical, UPS | 5 | 15% | 0.75 | 2.7875 | 0.41813
5 | CCTV & Security System | 5 | 10% | 0.5 | 1.85 | 0.185
6 | Plumbing | 5 | 10% | 0.5 | 1.5625 | 0.15625
7 | Civil, Carpentry | 5 | 10% | 0.5 | 0.9125 | 0.09125
Maximum Score |  | 100%
Total Target Weighted Score |  | 5
Total Weighted Score For the Month |  | 2.3294
Overall IFM- Monthly Performance |  | 46.59%
Overall Expected Performance |  | 80% to 75% |  | Must be minimum 90-80% overall. Anything below 80-70% will be considered as average performance and below 70% will be considered as poor performance.
Average Performance |  | 75% to 65%
Poor Performance |  | Below 65%
Please Note: Proposed Expected performance for 75% based on existing Sales Amount of MEP
IFM Monthly Performance Score Card - Sep'20 - Landmark
S. No. | Balanced Scorecard Criteria | Target Score | Weight | Target Weighted Score | Score for the Month | Weighted Score for the Month
1 | HVAC | 5 | 20% | 1 | 0 | 0
2 | Fire & Safety | 5 | 15% | 0.75 | 0 | 0
3 | Mechanical | 5 | 20% | 1 | 0 | 0
4 | Electrical, UPS | 5 | 15% | 0.75 | 0 | 0
5 | CCTV & Security System | 5 | 10% | 0.5 | 0 | 0
6 | Plumbing | 5 | 10% | 0.5 | 0 | 0
7 | Civil, Carpentry | 5 | 10% | 0.5 | 0 | 0
Maximum Score |  | 100%
Total Target Weighted Score |  | 5
Total Weighted Score For the Month |  | 0
Overall IFM- Monthly Performance |  | 0%
Overall Expected Performance |  | 85%

## Scorecard HVAC
HVAC Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
HVAC | A/C Water Leakage | Percentage | 100% | 25% | 5 | 20% | 1 | 1.25 | 0.25 |  |  |  |  | A/C Water Leakage | 40 | 10 | 15 | 25% | 1.25
| High Cooling | Percentage | 85% | 85% | 5 | 15% | 0.75 | 5 | 0.75 |  |  |  |  | High Cooling | 40 | 10 | 15 | 100% | 5
| Low Cooling | Percentage | 80% | 20% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  |  |  |  | Low Cooling | 40 | 10 | 15 | 25% | 1.25
| Noise | Percentage | 80% | 20% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Noise | 40 | 10 | 15 | 25% | 1.25
| Thermostat Not Working | Percentage | 80% | 20% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Thermostat Not Working | 40 | 10 | 15 | 25% | 1.25
| Comprosser Damage | Percentage | 75% | 18.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Comprosser Damage | 40 | 10 | 15 | 25% | 1.25
| Diffuser Broken | Percentage | 75% | 75% | 5 | 5% | 0.25 | 5 | 0.25 |  |  |  |  | Diffuser Broken | 40 | 10 | 15 | 100% | 5
| Motor Damage | Percentage | 80% | 20% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Motor Damage | 40 | 10 | 15 | 25% | 1.25
| PPM scheduled Vs completed | Percentage | 85% | 85% | 5 | 10% | 0.5 | 5 | 0.5 |  |  |  |  | PPM
Total Target Weighted score |  | 5 | [11 empty] | PPM | Total PPM Scheduled | Total PPM Completed | Total PPM Missed | % PPM Completed | Score for the month
Total Weighted score for the month |  | 2.375 | [11 empty] | HVAC | 512 | 512 | 0 | 1 | 5
Performance for the month |  | 47.5%
Expected Performance for HVAC Services |  | 80% to 75% | Must be 95- 85% Minimum. Anything below 85% -75% will be treated as average performance and below 75% will be treated as poor performance
Average Performance for HVAC Services |  | 75% to 70 % | Not agreed
Poor Performance for HVAC Services |  | Below 70%
Please Note: Proposed Expected performance for 85% based on existing Sales Amount of MEP
HVAC Performance Matrix - Landmark
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3
HVAC | A/C Water Leakage | Percentage | 100% | 0% | 5 | 20% | 1 | 0 | 0 | Immediate
| High Cooling | Percentage | 85% | 0% | 5 | 15% | 0.75 | 0 | 0 |  |  | 48 Hours
| Low Cooling | Percentage | 90% | 0% | 5 | 15% | 0.75 | 0 | 0 |  | 24 Hours
| Noise | Percentage | 85% | 0% | 5 | 10% | 0.5 | 0 | 0 |  |  | 48 Hours
| Thermostat Not Working | Percentage | 90% | 0% | 5 | 10% | 0.5 | 0 | 0 |  | 24 Hours
| Comprosser Damage | Percentage | 85% | 0% | 5 | 10% | 0.5 | 0 | 0 |  |  | 48 Hours
| Diffuser Broken | Percentage | 75% | 0% | 5 | 5% | 0.25 | 0 | 0 |  |  |  | 168 Hours
| Motor Damage | Percentage | 85% | 0% | 5 | 5% | 0.25 | 0 | 0 |  |  | 48 Hours
| PPM scheduled Vs completed | Percentage | 90% | 0% | 5 | 10% | 0.5 | 0 | 0 |  | 24 Hours
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 0
Performance for the month |  | 0%
Expecteced Performance for HVAC Services |  | 90%

## Score Card Fire & Safety
Fire & Safety Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Fire & Safety | Fire Alarm Panel Service | Percentage | 85% | 21.25% | 5 | 20% | 1 | 1.25 | 0.25 |  | 24 Hours |  |  | Fire Alarm Panel Service | 40 | 10 | 15 | 25% | 1.25
| Fire Extinguisher Refilling | Percentage | 85% | 21.25% | 5 | 20% | 1 | 1.25 | 0.25 |  | 24 Hours |  |  | Fire Extinguisher Refilling | 40 | 10 | 15 | 25% | 1.25
| Emergency Lights | Percentage | 80% | 20% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  |  |  |  | Emergency Lights | 40 | 10 | 15 | 25% | 1.25
| Fire Hydrant System Service | Percentage | 85% | 21.25% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  |  |  |  | Fire Hydrant System Service | 40 | 10 | 15 | 25% | 1.25
| First Aid Kit | Percentage | 85% | 85% | 5 | 15% | 0.75 | 5 | 0.75 |  |  |  |  | First Aid Kit | 40 | 10 | 15 | 100% | 5
| Civil Defence Related Signages | Percentage | 85% | 85% | 5 | 15% | 0.75 | 5 | 0.75 |  |  |  |  | Civil Defence Related Signages | 40 | 10 | 15 | 100% | 5
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 2.375
Performance for the month |  | 47.5%
Expected Performance for Fire & Safety |  | 85% to 80% | Must be 95-85% Minimum. Anything below 85% -75% will be treated as average performance and below 75% will be treated as poor performance
Average Performance for Fire & Safety |  | 75% to 70 % | NA
Poor Performance for Fire & Safety |  | Below 70%
Please Note: Proposed Expected performance for 85% based on existing Sales Amount of MEP
Fire & Safety Performance Matrix - Landmark
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Fire & Safety | Fire Alarm Panel Service | Percentage | 90% | 22.5% | 5 | 20% | 1 | 1.25 | 0.25 |  | 24 Hours |  |  | Fire Alarm Panel Service | 40 | 10 | 15 | 25% | 1.25
| Fire Extinguisher Refilling | Percentage | 90% | 22.5% | 5 | 20% | 1 | 1.25 | 0.25 |  | 24 Hours |  |  | Fire Extinguisher Refilling | 40 | 10 | 15 | 25% | 1.25
| Emergency Lights | Percentage | 90% | 22.5% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  | 24 Hours |  |  | Emergency Lights | 40 | 10 | 15 | 25% | 1.25
| Fire Hydrant System Service | Percentage | 85% | 21.25% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  |  | 48 Hours |  | Fire Hydrant System Service | 40 | 10 | 15 | 25% | 1.25
| First Aid Kit | Percentage | 90% | 22.5% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  | 24 Hours |  |  | First Aid Kit | 40 | 10 | 15 | 25% | 1.25
| Civil Defence Related Signages | Percentage | 90% | 22.5% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  | 24 Hours |  |  | Civil Defence Related Signages | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 1.25
Performance for the month |  | 25%
Expecteced Performance for Fire & Safety Services |  | 85%

## Score Card Mechanical
Mechanical Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Mechanical | Generator Repair | Percentage | 90% | 90% | 5 | 7% | 0.35 | 5 | 0.35 |  |  |  |  | Generator Repair | 40 | 10 | 15 | 100% | 5
| Rolling Shutter Repair | Percentage | 90% | 22.5% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Rolling Shutter Repair | 40 | 10 | 15 | 25% | 1.25
| Single entry Rolling Shutter Repair | Percentage | 100% | 25% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Single entry Rolling Shutter Repair | 40 | 10 | 15 | 25% | 1.25
| Rolling Shutter Stuck | Percentage | 90% | 22.5% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Rolling Shutter Stuck | 40 | 10 | 15 | 25% | 1.25
| Rolling Shutter Noice | Percentage | 85% | 21.25% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Rolling Shutter Noice | 40 | 10 | 15 | 25% | 1.25
| Air Curtain | Percentage | 85% | 85% | 5 | 2% | 0.1 | 5 | 0.1 |  |  |  |  | Air Curtain | 40 | 10 | 15 | 100% | 5
| Cargo Lift Not Working | Percentage | 85% | 85% | 5 | 7% | 0.35 | 5 | 0.35 |  |  |  |  | Cargo Lift Not Working | 40 | 10 | 15 | 100% | 5
| Cargo Lift Service | Percentage | 85% | 85% | 5 | 4% | 0.2 | 5 | 0.2 |  |  |  |  | Cargo Lift Service | 40 | 10 | 15 | 100% | 5
| Elevator Not Working | Percentage | 85% | 85% | 5 | 7% | 0.35 | 5 | 0.35 |  |  |  |  | Elevator Not Working | 40 | 10 | 15 | 100% | 5
| Elevator Service | Percentage | 85% | 85% | 5 | 4% | 0.2 | 5 | 0.2 |  |  |  |  | Elevator Service | 40 | 10 | 15 | 100% | 5
| Escalator Noise | Percentage | 85% | 85% | 5 | 3% | 0.15 | 5 | 0.15 |  |  |  |  | Escalator Noise | 40 | 10 | 15 | 100% | 5
| Escalator repair (no Alternate access ) | Percentage | 100% | 100% | 5 | 10% | 0.5 | 5 | 0.5 |  |  |  |  | Escalator repair (no Alternate access ) | 40 | 10 | 15 | 100% | 5
| Escalator Not Working | Percentage | 85% | 21.25% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Escalator Not Working | 40 | 10 | 15 | 25% | 1.25
| Escalator Service | Percentage | 85% | 85% | 5 | 4% | 0.2 | 5 | 0.2 |  |  |  |  | Escalator Service | 40 | 10 | 15 | 100% | 5
| Sliding Door Repair | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Sliding Door Repair | 40 | 10 | 15 | 25% | 1.25
| Rolling Shutter Slot Repair | Percentage | 75% | 18.75% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  |  | Rolling Shutter Slot Repair | 40 | 10 | 15 | 25% | 1.25
| PPM scheduled Vs completed | Percentage | 90% | 90% | 5 | 5% | 0.25 | 5 | 0.25 |  |  |  |  | PPM
Total Target Weighted score |  | 5 | [11 empty] | PPM | Total PPM Scheduled | Total PPM Completed | Total PPM Missed | % PPM Completed | Score for the month
Total Weighted score for the month |  | 3.2375 | [11 empty] | Mechanical | 28 | 28 | 0 | 1 | 5
Performance for the month |  | 64.75%
Expected Performance for Mechanical |  | 85% to 80% | Must be 95- 85% Minimum. Anything below 85% -75% will be treated as average performance and below 75% will be treated as poor performance
Average Performance for Mechanical |  | 75% to 70 % | NA
Poor Performance for Mechanical |  | Below 70%
Please Note: Proposed Expected performance for 85% based on existing Sales Amount of MEP
Mechanical Performance Matrix - Landmark
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Mechanical | Generator Repair | Percentage | 90% | 22.5% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  | 24 Hours |  |  | Generator Repair | 40 | 10 | 15 | 25% | 1.25
| Rolling Shutter Repair | Percentage | 90% | 36% | 5 | 7% | 0.35 | 2 | 0.14 |  | 24 Hours |  |  | Rolling Shutter Repair | 50 | 20 | 10 | 40% | 2
| Single entry Rolling Shutter Repair | Percentage | 100% | 50% | 5 | 7% | 0.35 | 2.5 | 0.175 | Immediate |  |  |  | Single entry Rolling Shutter Repair | 60 | 30 | 10 | 50% | 2.5
| Rolling Shutter Stuck | Percentage | 90% | 45% | 5 | 7% | 0.35 | 2.5 | 0.175 |  | 24 Hours |  |  | Rolling Shutter Stuck | 20 | 10 | 5 | 50% | 2.5
| Rolling Shutter Noice | Percentage | 85% | 28.33% | 5 | 7% | 0.35 | 1.6667 | 0.11667 |  |  | 48 Hours |  | Rolling Shutter Noice | 30 | 10 | 5 | 33.33% | 1.6667
| Air Curtain | Percentage | 85% | 32.69% | 5 | 2% | 0.1 | 1.9231 | 0.038462 |  |  | 48 Hours |  | Air Curtain | 52 | 20 | 10 | 38.46% | 1.9231
| Cargo Lift Not Working | Percentage | 85% | 21.25% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  | 48 Hours |  | Cargo Lift Not Working | 40 | 10 | 3 | 25% | 1.25
| Cargo Lift Service | Percentage | 85% | 34% | 5 | 4% | 0.2 | 2 | 0.08 |  |  | 48 Hours |  | Cargo Lift Service | 10 | 4 | 2 | 40% | 2
| Elevator Not Working | Percentage | 85% | 63.75% | 5 | 7% | 0.35 | 3.75 | 0.2625 |  |  | 48 Hours |  | Elevator Not Working | 20 | 15 | 5 | 75% | 3.75
| Elevator Service | Percentage | 85% | 28.33% | 5 | 4% | 0.2 | 1.6667 | 0.066667 |  |  | 48 Hours |  | Elevator Service | 30 | 10 | 4 | 33.33% | 1.6667
| Escalator Noise | Percentage | 85% | 14.17% | 5 | 3% | 0.15 | 0.83333 | 0.025 |  |  | 48 Hours |  | Escalator Noise | 60 | 10 | 6 | 16.67% | 0.83333
| Escalator repair (no Alternate access ) | Percentage | 100% | 41.67% | 5 | 10% | 0.5 | 2.0833 | 0.20833 | Immediate |  |  |  | Escalator repair (no Alternate access ) | 48 | 20 | 10 | 41.67% | 2.0833
| Escalator Not Working | Percentage | 85% | 17% | 5 | 7% | 0.35 | 1 | 0.07 |  |  | 48 Hours |  | Escalator Not Working | 10 | 2 | 20 | 20% | 1
| Escalator Service | Percentage | 85% | 21.25% | 5 | 4% | 0.2 | 1.25 | 0.05 |  |  | 48 Hours |  | Escalator Service | 20 | 5 | 15 | 25% | 1.25
| Sliding Door Repair | Percentage | 85% | 17.71% | 5 | 5% | 0.25 | 1.0417 | 0.052083 |  |  | 48 Hours |  | Sliding Door Repair | 48 | 10 | 20 | 20.83% | 1.0417
| Rolling Shutter Slot Repair | Percentage | 75% | 18.75% | 5 | 7% | 0.35 | 1.25 | 0.0875 |  |  |  | 168 Hours | Rolling Shutter Slot Repair | 20 | 5 | 5 | 25% | 1.25
| PPM scheduled Vs completed | Percentage | 90% | 18% | 5 | 5% | 0.25 | 1 | 0.05 |  | 24 Hours |  |  | PPM
Total Target Weighted score |  | 5 | [11 empty] | PPM | Total PPM Scheduled | Total PPM Completed | Total PPM Missed | % PPM Completed | Score for the month
Total Weighted score for the month |  | 1.7722 | [11 empty] | Mechanical | 50 | 10 | 40 | 0.2 | 1
Performance for the month |  | 35.44%
Expecteced Performance for Mechanical Services |  | 90%

## Score Card Electrical, UPS
Electrical Performance Matrix
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Electrical | Bulb Flickering | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  |  |  |  | Bulb Flickering | 40 | 10 | 15 | 25% | 1.25
| Burned Cable | Percentage | 95% | 23.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Burned Cable | 40 | 10 | 15 | 25% | 1.25
| Earthing Issue | Percentage | 80% | 80% | 5 | 8% | 0.4 | 5 | 0.4 |  |  |  |  | Earthing Issue | 40 | 10 | 15 | 100% | 5
| Switch Broken/Not Working | Percentage | 80% | 80% | 5 | 8% | 0.4 | 5 | 0.4 |  |  |  |  | Switch Broken/Not Working | 40 | 10 | 15 | 100% | 5
| Faded Bulb / Fused Bulb | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Faded Bulb / Fused Bulb | 40 | 10 | 15 | 25% | 1.25
| Other Electrical Work | Percentage | 70% | 17.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Other Electrical Work | 40 | 10 | 15 | 25% | 1.25
| Power Failure (Short Circuite, Breaker Damage) | Percentage | 100% | 25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Power Failure (Short Circuite, Breaker Damage) | 40 | 10 | 15 | 25% | 1.25
| Inside Store | Percentage | 80% | 80% | 5 | 5% | 0.25 | 5 | 0.25 |  |  |  |  | Inside Store | 40 | 10 | 15 | 100% | 5
| Store/ Mall Facade Signage | Percentage | 85% | 21.25% | 5 | 8% | 0.4 | 1.25 | 0.1 |  |  |  |  | Store/ Mall Facade Signage | 40 | 10 | 15 | 25% | 1.25
| Other Signage work | Percentage | 75% | 18.75% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Other Signage work | 40 | 10 | 15 | 25% | 1.25
| Low Backup Time | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  |  |  |  | Low Backup Time | 40 | 10 | 15 | 25% | 1.25
| UPS Not Working | Percentage | 80% | 80% | 5 | 10% | 0.5 | 5 | 0.5 |  |  |  |  | UPS Not Working | 40 | 10 | 15 | 100% | 5
| UPS Failure | Percentage | 90% | 90% | 5 | 10% | 0.5 | 5 | 0.5 |  |  |  |  | UPS Failure | 40 | 10 | 15 | 100% | 5
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 2.7875
Performance for the month |  | 55.75%
Expected Performance for Electrical, UPS |  | 85% to 80% | Must be 90-80% Minimum. Anything below 80% -70% will be treated as average performance and below 70% will be treated as poor performance
Average Performance for Electrical, UPS |  | 75% to 70 % | NA
Poor Performance for Electrical, UPS |  | Below 70%
Please Note: Proposed Expected performance for 85% based on existing Sales Amount of MEP
Electrical Performance Matrix
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Electrical | Bulb Flickering | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Bulb Flickering | 40 | 10 | 15 | 25% | 1.25
| Burned Cable | Percentage | 100% | 25% | 5 | 10% | 0.5 | 1.25 | 0.125 | Immediate |  |  |  | Burned Cable | 40 | 10 | 15 | 25% | 1.25
| Earthing Issue | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Earthing Issue | 40 | 10 | 15 | 25% | 1.25
| Switch Broken/Not Working | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Switch Broken/Not Working | 40 | 10 | 15 | 25% | 1.25
| Faded Bulb / Fused Bulb | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  | 48 Hours |  | Faded Bulb / Fused Bulb | 40 | 10 | 15 | 25% | 1.25
| Other Electrical Work | Percentage | 75% | 18.75% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  | 168 Hours | Other Electrical Work | 40 | 10 | 15 | 25% | 1.25
| Power Failure (Short Circuite, Breaker Damage) | Percentage | 100% | 25% | 5 | 10% | 0.5 | 1.25 | 0.125 | Immediate |  |  |  | Power Failure (Short Circuite, Breaker Damage) | 40 | 10 | 15 | 25% | 1.25
| Inside Store | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  | 48 Hours |  | Inside Store | 40 | 10 | 15 | 25% | 1.25
| Store/ Mall Facade Signage | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Store/ Mall Facade Signage | 40 | 10 | 15 | 25% | 1.25
| Other Signage work | Percentage | 75% | 18.75% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  | 168 Hours | Other Signage work | 40 | 10 | 15 | 25% | 1.25
| Low Backup Time | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Low Backup Time | 40 | 10 | 15 | 25% | 1.25
| UPS Not Working | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | UPS Not Working | 40 | 10 | 15 | 25% | 1.25
| UPS Failure | Percentage | 100% | 25% | 5 | 10% | 0.5 | 1.25 | 0.125 | Immediate |  |  |  | UPS Failure | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 1.25
Performance for the month |  | 25%
Expecteced Performance for Electrical Services |  | 85%

## Score Card CCTV & SS.
CCTV & Security System. Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
CC TV, Networking, Telephone & PA System | Biometric Cable issue | Percentage | 85% | 21.25% | 5 | 8% | 0.4 | 1.25 | 0.1 |  |  |  |  | Biometric Cable issue | 40 | 10 | 15 | 25% | 1.25
| Blank Screen | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Blank Screen | 40 | 10 | 15 | 25% | 1.25
| Blurred Picture | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Blurred Picture | 40 | 10 | 15 | 25% | 1.25
| Camera Not Working | Percentage | 90% | 22.5% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  |  |  |  | Camera Not Working | 40 | 10 | 15 | 25% | 1.25
| DVR Not Working | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | DVR Not Working | 40 | 10 | 15 | 25% | 1.25
| No Backup | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | No Backup | 40 | 10 | 15 | 25% | 1.25
| Unable To Page | Percentage | 85% | 85% | 5 | 5% | 0.25 | 5 | 0.25 |  |  |  |  | Unable To Page | 40 | 10 | 15 | 100% | 5
| Verifone Cable Problem | Percentage | 85% | 21.25% | 5 | 4% | 0.2 | 1.25 | 0.05 |  |  |  |  | Verifone Cable Problem | 40 | 10 | 15 | 25% | 1.25
| Biometric Not Working | Percentage | 85% | 85% | 5 | 8% | 0.4 | 5 | 0.4 |  |  |  |  | Biometric Not Working | 40 | 10 | 15 | 100% | 5
| Additional Data Port Request | Percentage | 75% | 75% | 5 | 3% | 0.15 | 5 | 0.15 |  |  |  |  | Additional Data Port Request | 40 | 10 | 15 | 100% | 5
| Camera Position Change | Percentage | 75% | 18.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Camera Position Change | 40 | 10 | 15 | 25% | 1.25
| Intercom Not Working | Percentage | 75% | 18.75% | 5 | 4% | 0.2 | 1.25 | 0.05 |  |  |  |  | Intercom Not Working | 40 | 10 | 15 | 25% | 1.25
| User ID/Password Block | Percentage | 75% | 18.75% | 5 | 3% | 0.15 | 1.25 | 0.0375 |  |  |  |  | User ID/Password Block | 40 | 10 | 15 | 25% | 1.25
Security Systems | Deactivation Pad | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Deactivation Pad | 40 | 10 | 15 | 25% | 1.25
| Security Antenna | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Security Antenna | 40 | 10 | 15 | 25% | 1.25
| Foot Fall counting | Percentage | 75% | 18.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Foot Fall counting | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 1.85
Performance for the month |  | 37%
Expected Performance for CCTV & SS. |  | 80% to 75% | Must be 95-85% Minimum. Anything below 85% -75% will be treated as average performance and below 75% will be treated as poor performance
Average Performance for CCTV & SS. |  | 75% to 70 %
Poor Performance for CCTV & SS. |  | Below 70%
Please Note: Proposed Expected performance for 80% based on existing Sales Amount of MEP
CCTV & Security System. Performance Matrix - Landmark
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
CC TV, Networking, Telephone & PA System | Biometric Cable issue | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Biometric Cable issue | 40 | 10 | 15 | 25% | 1.25
| Blank Screen | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | Blank Screen | 40 | 10 | 15 | 25% | 1.25
| Blurred Picture | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | Blurred Picture | 40 | 10 | 15 | 25% | 1.25
| Camera Not Working | Percentage | 90% | 22.5% | 5 | 15% | 0.75 | 1.25 | 0.1875 |  | 24 Hours |  |  | Camera Not Working | 40 | 10 | 15 | 25% | 1.25
| DVR Not Working | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | DVR Not Working | 40 | 10 | 15 | 25% | 1.25
| No Backup | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | No Backup | 40 | 10 | 15 | 25% | 1.25
| Unable To Page | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | Unable To Page | 40 | 10 | 15 | 25% | 1.25
| Verifone Cable Problem | Percentage | 90% | 22.5% | 5 | 4% | 0.2 | 1.25 | 0.05 |  | 24 Hours |  |  | Verifone Cable Problem | 40 | 10 | 15 | 25% | 1.25
| Biometric Not Working | Percentage | 90% | 22.5% | 5 | 8% | 0.4 | 1.25 | 0.1 |  | 24 Hours |  |  | Biometric Not Working | 40 | 10 | 15 | 25% | 1.25
| Additional Data Port Request | Percentage | 75% | 18.75% | 5 | 3% | 0.15 | 1.25 | 0.0375 |  |  |  | 168 Hours | Additional Data Port Request | 40 | 10 | 15 | 25% | 1.25
| Camera Position Change | Percentage | 75% | 18.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  | 168 Hours | Camera Position Change | 40 | 10 | 15 | 25% | 1.25
| Intercom Not Working | Percentage | 75% | 18.75% | 5 | 4% | 0.2 | 1.25 | 0.05 |  |  |  | 168 Hours | Intercom Not Working | 40 | 10 | 15 | 25% | 1.25
| User ID/Password Block | Percentage | 75% | 18.75% | 5 | 3% | 0.15 | 1.25 | 0.0375 |  |  |  | 168 Hours | User ID/Password Block | 40 | 10 | 15 | 25% | 1.25
Security Systems | Deactivation Pad | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  | 48 Hours |  | Deactivation Pad | 40 | 10 | 15 | 25% | 1.25
| Security Antenna | Percentage | 90% | 22.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  | 24 Hours |  |  | Security Antenna | 40 | 10 | 15 | 25% | 1.25
| Foot Fall counting | Percentage | 75% | 18.75% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  | 168 Hours | Foot Fall counting | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 1.25
Performance for the month |  | 25%
Expecteced Performance for CCTV & Security System Services |  | 90%

## Score Card Plumbing
Plumbing Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Plumbing | Broken Health Faucet | Percentage | 85% | 21.25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Broken Health Faucet | 40 | 10 | 15 | 25% | 1.25
| Broken Tap | Percentage | 85% | 21.25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Broken Tap | 40 | 10 | 15 | 25% | 1.25
| Leakage Toilet | Percentage | 85% | 21.25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Leakage Toilet | 40 | 10 | 15 | 25% | 1.25
| Leakage Wash Basin | Percentage | 85% | 21.25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Leakage Wash Basin | 40 | 10 | 15 | 25% | 1.25
| Main Pipe Leakage | Percentage | 95% | 95% | 5 | 15% | 0.75 | 5 | 0.75 |  |  |  |  | Main Pipe Leakage | 40 | 10 | 15 | 100% | 5
| Pump Repair | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Pump Repair | 40 | 10 | 15 | 25% | 1.25
| Broken Wash Basin | Percentage | 80% | 20% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Broken Wash Basin | 40 | 10 | 15 | 25% | 1.25
| Broken WC | Percentage | 80% | 20% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  |  |  | Broken WC | 40 | 10 | 15 | 25% | 1.25
| Flush Repair | Percentage | 80% | 0% | 5 | 10% | 0.5 | 0 | 0 |  |  |  |  | Flush Repair | 40 | 10 | 15 | 100% | 5
| Leakage Through Wall | Percentage | 90% | 0% | 5 | 10% | 0.5 | 0 | 0 |  |  |  |  | Leakage Through Wall | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 1.5625
Performance for the month |  | 31.25%
Expected Performance for Plumbing |  | 75 % to 70% | Must be 85-75% Minimum. Anything below 75% -65% will be treated as average performance and below 65% will be treated as poor performance
Average Performance for Plumbing |  | 70% to 60 % | NA
Poor Performance for Plumbing |  | Below 60%
Please Note: Proposed Expected performance for 75% based on existing Sales Amount of MEP
Plumbing Performance Matrix - Landmark
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Plumbing | Broken Health Faucet | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | Broken Health Faucet | 40 | 10 | 15 | 25% | 1.25
| Broken Tap | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | Broken Tap | 40 | 10 | 15 | 25% | 1.25
| Leakage Toilet | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | Leakage Toilet | 40 | 10 | 15 | 25% | 1.25
| Leakage Wash Basin | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | Leakage Wash Basin | 40 | 10 | 15 | 25% | 1.25
| Main Pipe Leakage | Percentage | 100% | 25% | 5 | 15% | 0.75 | 1.25 | 0.1875 | Immediate |  |  |  | Main Pipe Leakage | 40 | 10 | 15 | 25% | 1.25
| Pump Repair | Percentage | 90% | 22.5% | 5 | 10% | 0.5 | 1.25 | 0.125 |  | 24 Hours |  |  | Pump Repair | 40 | 10 | 15 | 25% | 1.25
| Broken Wash Basin | Percentage | 85% | 21.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  | 48 Hours |  | Broken Wash Basin | 40 | 10 | 15 | 25% | 1.25
| Broken WC | Percentage | 85% | 21.25% | 5 | 10% | 0.5 | 1.25 | 0.125 |  |  | 48 Hours |  | Broken WC | 40 | 10 | 15 | 25% | 1.25
| Flush Repair | Percentage | 85% | 0% | 5 | 10% | 0.5 | 0 | 0 |  |  | 48 Hours |  | Flush Repair | 40 | 10 | 15 | 25% | 1.25
| Leakage Through Wall | Percentage | 90% | 0% | 5 | 10% | 0.5 | 0 | 0 |  | 24 Hours |  |  | Leakage Through Wall | 40 | 10 | 15 | 25% | 1.25
Total Target Weighted score |  | 4.5
Total Weighted score for the month |  | 1
Performance for the month |  | 22.22%
Expecteced Performance for Plumbing Services |  | 80%

## Score Card Civil & Carpentry
Civil & Carpentry Performance Matrix - Zahrani
Performance Indicator |  | Units of Measure | Target | Target Achieved | Target Score | Weight | Target Weighted Score | Score for the month | Weighted score for the month | Emergency | P1 | P2 | P3 | Service Type | Total Calls Received | Total Call Closed (Within TAT) | Total Call Closed (TAT Breached) | Call Closure % (Within TAT) | Score of the Month
Civil & Carpentry | Drawer Repair | Percentage | 80% | #REF! | 5 | 8% | 0.4 | #REF! | #REF! |  |  |  |  | Drawer Repair | #REF! | #REF! | #REF! | #REF! | #REF!
| Lock Repair/Change | Percentage | 80% | #REF! | 5 | 9% | 0.45 | #REF! | #REF! |  |  |  |  | Lock Repair/Change | #REF! | #REF! | #REF! | #REF! | #REF!
| Other Carpentry Work / Repair | Percentage | 70% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Other Carpentry Work / Repair | #REF! | #REF! | #REF! | #REF! | #REF!
| Other Masonry Work / Repair | Percentage | 65% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Other Masonry Work / Repair | #REF! | #REF! | #REF! | #REF! | #REF!
| Tile Replacement | Percentage | 65% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Tile Replacement | #REF! | #REF! | #REF! | #REF! | #REF!
| Tile Broken at the entrance | Percentage | 95% | #REF! | 5 | 10% | 0.5 | #REF! | #REF! |  |  |  |  | Tile Broken at the entrance | #REF! | #REF! | #REF! | #REF! | #REF!
| Grid Ceiling / Partition Work | Percentage | 70% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Grid Ceiling / Partition Work | #REF! | #REF! | #REF! | #REF! | #REF!
| Parking Area Painting | Percentage | 65% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Parking Area Painting | #REF! | #REF! | #REF! | #REF! | #REF!
| Spray Painting | Percentage | 75% | #REF! | 5 | 5% | 0.25 | #REF! | #REF! |  |  |  |  | Spray Painting | #REF! | #REF! | #REF! | #REF! | #REF!
| Wall Painting | Percentage | 75% | 18.75% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Wall Painting | 40 | 10 | 15 | 25% | 1.25
| Window Curtain | Percentage | 70% | 17.5% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Window Curtain | 40 | 10 | 15 | 25% | 1.25
| Broken Mirror / Cash Counter Top Glass & Back Table Glass | Percentage | 75% | 18.75% | 5 | 9% | 0.45 | 1.25 | 0.1125 |  |  |  |  | Broken Mirror / Cash Counter Top Glass & Back Table Glass | 40 | 10 | 15 | 25% | 1.25
| Metal Door Repair / Trolley Guard | Percentage | 75% | 18.75% | 5 | 9% | 0.45 | 1.25 | 0.1125 |  |  |  |  | Metal Door Repair / Trolley Guard | 40 | 10 | 15 | 25% | 1.25
| Other Work | Percentage | 65% | 16.25% | 5 | 5% | 0.25 | 1.25 | 0.0625 |  |  |  |  | Other Work | 40 | 10 | 15 | 25% | 1.25
| Façade Glass Broken | Percentage | 85% | 85% | 5 | 10% | 0.5 | 5 | 0.5 |  |  |  |  | Façade Glass Broken | 40 | 10 | 15 | 100% | 5
Total Target Weighted score |  | 5
Total Weighted score for the month |  | 0.9125
Performance for the month |  | 18.25%
Expected Performance for Civil & Carpentry |  | 70% to 65% | Must be 85-75% Minimum. Anything below 75% -65% will be treated as average performance and below 65% will be treated as poor performance
Average Performance for Civil & Carpentry |  | 65% to 60% | NA
Poor Performance for Civil & Carpentry |  | Below 60%
Please Note: Proposed Expected performance for 70% based on existing Sales Amount of MEP